## Slide 1: PWCS Fifth Edition DIVISION 1000 Edits
As of 10/19/2018

## Slide 2
SILT FENCE
1020A
Replacing Original Drawing 1020

## Slide 3
1020B

## Slide 4
Longitudinal slope
For swale material, see Note 6
max.
Swale
Update Drawing Date
1030A

## Slide 5
95
Replace “grades” with “longitudinal slopes”
Update Drawing Date
PLANS
swale
STABILIZED
RIP-RAP
SEE NOTES 9 AND 10.
9. For temporary stabilization rip-rap; width, depth, and surface water elevation should be designed by owner or owner’s representative.
10. Refer to Drawing 1230A and B for turf reinforcement mat.
11. See integrated Stormwater Management Manual for more information on interceptor swale.
1030B

## Slide 6
See Note 5
Update Drawing Date
1040A

## Slide 7
Standard Specification Reference 202.7* | 
Date | Standard Drawing No. 1040B
Arrows are upside down
STANDARD DRAWINGS 1030A AND 1030B.
1040B
New Drawing
Taken from iSWM manual to accompany 1040A

## Slide 8
7. See integrated Stormwater Management Manual for more information on interceptor swale.
8. For temporary stabilization rip-rap; width, depth, and surface water elevation should be designed by owner or owner’s representative.
9. Refer to Drawing 1230A and B for turf reinforcement mat.
Refer to Item 202.7 in the Standard Specifications.
Replace “grades” with “longitudinal slopes”
Update Drawing Date
PLANS
swale
STABILIZED
RIP-RAP
SEE NOTES 8 AND 9.
1040C

## Slide 9
Standard Specification Reference 202.8 * | 
Date | Standard Drawing No. 1050A
deep
6” x 6” OR 4” x 4” WELDED WIRE MESH STRUCTURE
1050A
Replacing Original Drawing 1050A

## Slide 10
Update Drawing Date
6” x 6” or 4” x 4” WELDED WIRE MESH
1050B

## Slide 11
HEIGHT (H) AND SPACING (L) OF CHECK DAM AS PROVIDED IN PLANS BY OWNER OR OWNER’S REPRESENTATIVE. PROVIDE CALCULATIONS UPON REQUEST OF THE REVIEWING AGENCY.
H
H
H
1060A
Replacing Original Drawing 1060A

## Slide 12
1060B

## Slide 13
EXIT
1070A
Replacing Original Drawing 1070A

## Slide 14
*REPLACE “ENTRANCE” WITH EXIT THROUGHOUT
1070B

## Slide 15
Standard Specification Reference | 
Date | Standard Drawing No. New Drawing
HEIGHT (H) AND SPACING (L) OF CHECK DAM AS PROVIDED IN PLANS BY OWNER OR OWNER’S REPRESENTATIVE. PROVIDE CALCULATIONS UPON REQUEST OF THE REVIEWING AGENCY.
1080
Replacing Original Drawing 1080A

## Slide 16
Standard Specification Reference | 
Date | Standard Drawing No. New Drawing
HEIGHT (H) AND SPACING (L) OF CHECK DAM AS PROVIDED IN PLANS BY OWNER OR OWNER’S REPRESENTATIVE. PROVIDE CALCULATIONS UPON REQUEST OF THE REVIEWING AGENCY.
(H)
1090
New Drawing
Taken from iSWM manual to accompany Figure 2.3/1080 replacement

## Slide 17
NOTES:
ACTUAL DIMENSIONS OF THE SEDIMENT TRAP SHALL BE DESIGNED BASED ON FLOW CONDITIONS AND SITE TOPOGRAPHY.
PROVIDE CALCULATIONS UPON REQUEST OF THE REVIEWING AGENCY.
DESIGN OF VOLUME, HEIGHT, SLOPE, AND LENGTH AS PROVIDED IN PLANS PROVIDED BY OWNER OR OWNER’S REPRESENTATIVE.
Standard Specification Reference 202.12* | 
Date | Standard Drawing No.
1100
Replacing Original Drawing 1090

## Slide 18
Standard Specification Reference 202.12* | 
Date | Standard Drawing No.
(move to this side)
SIDE
Remove internal leader line
NOTES:
ACTUAL DIMENSIONS OF THE SEDIMENT TRAP SHALL BE DESIGNED BASED ON FLOW CONDITIONS AND SITE TOPOGRAPHY.
PROVIDE CALCULATIONS UPON REQUEST OF THE REVIEWING AGENCY.
DESIGN OF VOLUME, HEIGHT, SLOPE, AND LENGTH AS PROVIDED IN PLANS PROVIDED BY OWNER OR OWNER’S REPRESENTATIVE.
New Drawing
Taken from iSWM manual to accompany
Figure 3.30/1090 replacement
1110

## Slide 19
FLOW
FLOW
PERFORATED RISER
Note:
Pipe size, rock size, and berm height as provided in plans by owner or owner’s representative
Optional: A collar of 1.5-3 inch, well graded gravel (not shown) may be placed around the perforated riser
Replacing Original Drawing 1100
1120

## Slide 20
ORIGINAL PWCS DRAWING
1130

## Slide 21
iSWM EQUIVALENT - 1110
Possible replacement for Original Drawing 1110

## Slide 22
To Be Updated by Halff
Will replace Original Drawing 1120
1140

## Slide 23
BLOCK AND GRAVEL
1150

## Slide 24
To Be Updated by Halff
Will replace Original Drawing 1150
1160

## Slide 25
BLOCK AND GRAVEL
ORIGINAL PWCS DRAWING
1170

## Slide 26
iSWM EQUIVALENT - 1140
Possible replacement for Original Drawing 1140

## Slide 27
Replacing Original Drawing 1160A
1180A

## Slide 28
Replacing Original Drawing 1160B

## Slide 29
New Drawing
Taken from iSWM manual to accompany
Figure 2.7/1160 replacement
To Be Updated by Halff
Will accompany Figure 2.8
1180B

## Slide 30
New Drawing
Taken from iSWM manual
To Be Updated by Halff
New Drawing
1190A

## Slide 31
New Drawing
Taken from iSWM manual
To Be Updated by Halff
New Drawing
1190B

## Slide 32: New Drawing Grouted Rock Rip-Rap Halff Associates 2018 Update
1200

## Slide 33: New Drawing Stream Trash Catch/Screen Halff Associates 2018 Update
1210

## Slide 34: Potential Additional Drawings
The following schematics were either updated by Halff Associates in 2017 or have been tasked to Halff Associates to update in 2018/2019

## Slide 35
To Be Updated by Halff Associates in 2018/2019

## Slide 36
Updated by Halff Associates in 2017

## Slide 37
To Be Updated by Halff Associates in 2018/2019

## Slide 38
Updated by Halff Associates in 2017

## Slide 39
Updated by Halff Associates in 2017

## Slide 40
Updated by Halff Associates in 2017

## Slide 41
Updated by Halff Associates in 2017

## Slide 42
Updated by Halff Associates in 2017

## Slide 43
Updated by Halff Associates in 2017

## Slide 44
To Be Updated by Halff Associates in 2018/2019